|  | QUESTIONNAIRE For the Selection of a Block Heat Supply Station |
| --- | --- |

| Supplier and Manufacturer: | Customer Coordinates: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Tel: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact Person: |
| e-mail: office@opeks.ua | Position |

Please complete the initial data in the table below:

| 1. Design of the Heat Supply Station |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1. Composition of the Heat Supply Station, Blocks (cross out as appropriate) |  |  |  | Heating |  | Ventilation |  |  |  |  |  |  | DHW |
| 1.2. Delivery of the Heat Supply Station (cross out as appropriate) |  |  |  | as a single block |  |  |  | as separate blocks |  |  |  |  |  |
| 1.3. Maximum dimensions of an individual block (L×W×H), mm |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If possible, please attach a schematic diagram showing the supply boundaries and layout of the heat supply station room. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Basic data on the heat supply system |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.1. Source of heat (boiler house, heat network, other) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.2. Pressure at the connection point in the supply pipeline, bar |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.3. Pressure at the connection point in the return pipeline, bar |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.4. Is the installation of a differential pressure regulator required (delete as appropriate) |  |  | yes |  |  |  |  |  |  | no |  |  |  |
|  |  |  | Operating modes |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Winter |  |  | Transitional |  |  |  |  |  | Summer |  |
| 2.5. Outside air temperature, o°C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.6. Fluid temperature in the supply pipeline, o°C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.7. Fluid temperature in the return pipeline, o°C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Heating and ventilation system unit |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HEATING |  |  |  |  |  | VENTILATION |  |  |  |  |  |  |
| 3.1. Connection diagram (delete as appropriate) | dependent |  |  |  | independent |  | dependent |  |  |  | independent |  |  |
|  | Winter mode |  |  |  | Transitional mode |  | Winter mode |  |  |  | Transitional mode |  |  |
| 3.2. Heat load, Gcal/h |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.3. Temperature in the system (inlet/outlet), °C | / |  |  |  | / |  | / |  |  |  | / |  |  |
| 3.4. Highest point of the system, m |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.5. Water volume in the system, m 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.6. Permissible maximum pressure in the system, bar |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.7. System resistance, m.w.c. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.8. Circulating pump redundancy | yes |  |  |  | no |  | yes |  |  |  | no |  |  |
| 3.9. Electronically controlled pumps | yes |  |  |  | no |  | yes |  |  |  | no |  |  |
| 3.10. Heat exchanger redundancy | yes |  |  |  | no |  | yes |  |  |  | no |  |  |
| 3.11 Installation of expansion tank | yes |  |  |  | no |  | yes |  |  |  | no |  |  |
| 3.12 Installation of make-up unit (delete if not applicable) | yes |  |  |  | no |  | yes |  |  |  | no |  |  |
| 3.13 Installation of water meter on make-up supply | yes |  |  |  |  |  | no |  |  |  |  |  |  |
| 4. Domestic hot water system unit |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.1 Connection scheme (delete if not applicable) |  | parallel / 2-stage mixed |  |  |  |  |  |  |  |  |  |  |  |
| 4.2 Heat load, Gcal/h |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.3 Temperature in the DHW system (inlet/outlet), o°C |  | / |  |  |  |  |  |  |  |  |  |  |  |
| 4.4 Cold water pressure at inlet, bar |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.5 Highest point of the system, m |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.6. Hot water circulation % |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.7. System resistance, m.w.c. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.8. Circulating pump redundancy |  | yes |  |  |  |  |  |  | no |  |  |  |  |
| 4.9. Electronically controlled pumps |  | yes |  |  |  |  |  |  | no |  |  |  |  |
| 4.10 Installation of a water meter |  | yes |  |  |  |  |  |  | no |  |  |  |  |