|  | QUESTIONNAIRE For the selection of a condensate trap |
| --- | --- |

| Supplier and Manufacturer: | Customer Contact Details: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Tel: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact Person: |
| e-mail: office@opeks.ua | Position |

Please complete the initial data in the table below:

| Parameter | Unit of Measurement | Value |
| --- | --- | --- |
| Steam (Condensate) Temperature | °C |  |
| Steam (Condensate) Pressure | bar |  |
| Steam (condensate) flow rate | kg/h |  |
| Maximum operating temperature | °C |  |
| Maximum operating pressure | bar |  |
| Intended purpose of the condensate trap (e.g. removal of condensate from the satellite steam line, condensate drainage from a heat exchanger, etc.) |  |  |
| Type of condensate trap (mechanical float, thermostatic, thermodynamic) | please specify |  |
| Type of connection (threaded, flange, welded) | please specify |  |
| Diameter (if replacing existing) | please specify | DN |
| Required quantity | pcs |  |

Note:

Please specify the requirement for acquiring any additional equipment (separator-dryers, condensate traps, filters, shut-off valves, condensate pumps, temperature controllers, etc.):

________________________________________________________________________________________________________________________________________________________________________________________________________________________