|  | QUESTIONNAIRE For the Selection of a Shell-and-Tube Heat Exchanger |
| --- | --- |

| Supplier and Manufacturer: | Customer Details: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Phone: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact Person: |
| e-mail: office@opeks.ua | Position |

Please complete the source data in the table below:

| Name | Unit |  | Value |
| --- | --- | --- | --- |
| Configuration – horizontal / vertical |  |  |  |
| Purpose – heating/DHW/technological process (specify the nature of the process) |  |  |  |
| Process specifics – with phase transition / without phase transition |  |  |  |
| Media used – water–water / steam–water / gas–water / refrigerant–water / others (specify) |  |  |  |
| Thermal power | kW |  |  |
| Design parameters |  |  |  |
| – maximum pressure | MPa |  |  |
| – maximum temperature | °C |  |  |

| Heating medium: |  |  |
| --- | --- | --- |
| – designation |  |  |
| – operating pressure | MPa |  |
| – inlet temperature | °C |  |
| – outlet temperature | °C |  |
| – permissible pressure drop | kPa |  |
| – flow rate | kg/h |  |
| Heated medium: |  |  |
| – designation |  |  |
| – operating pressure | MPa |  |
| – inlet temperature | °C |  |
| – outlet temperature | °C |  |
| – permissible pressure drop | kPa |  |
| – flow rate | kg/h |  |
| Shell material (carbon steel / stainless steel: AISI 304/316/321 / other) |  |  |
| Heat exchanger tube material (carbon steel / stainless steel: AISI 304/316/321 / other) |  |  |

Physical properties of non-standard single-phase media*:

(specified at three temperatures within the operating range)

| Heating medium (name): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Temperature | °C |  |  |  |
| Density | kg/m3 |  |  |  |
| Viscosity | Pa∙s |  |  |  |
| Specific heat capacity | kJ/(kg∙°C) |  |  |  |
| Thermal conductivity coefficient | W/(m∙°C) |  |  |  |
| Heated medium(name): |  |  |  |  |
| Temperature | °C |  |  |  |
| Density | kg/m3 |  |  |  |
| Viscosity | Pa∙s |  |  |  |
| Specific heat capacity | kJ/(kg∙°C) |  |  |  |
| Thermal conductivity coefficient | W/(m∙°C) |  |  |  |

* For non-standard two-phase media, please contact our company’s engineering department.