|  | QUESTIONNAIRE For the Selection of a Plate Heat Exchanger |
| --- | --- |

Hot Water Supply

| Supplier and Manufacturer: | Customer Contact Details: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Tel: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact Person: |
| e-mail: office@opeks.ua | Position |

Please complete the source data in the following table:

| Parameter | Unit | Flow Designation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Cooled (hot) |  | Heated (cold) |  |  |
| Medium |  | water / steam |  | water |  |  |
| Steam temperature, t saturation | °C |  |  |  |  |  |
| Steam pressure, P | barg |  |  |  |  |  |
| Connection scheme | specify | Parallel / two-stage mixed (serial) |  |  |  |  |
| DHW thermal power |  | Q * = |  |  |  |  |
| Flow rate |  | G1st= | G2st= |  | Gghw= |  |
| Inlet temperature | °C | T11= | T21= |  | T_cold= | T_ind= |
| Outlet temperature | °C | T12= | T22= |  | T_ind= | T_hot= |
| Maximum operating temperature | °C | Tmax = |  |  |  |  |
| Maximum operating pressure |  | P1 = |  |  | P2 = |  |
| Maximum Permissible pressure loss |  | P1 < |  |  | P2 < |  |
| Connection type (threaded, flanged, welded) | specify |  |  |  |  |  |
| Heat exchanger type (gasketed, brazed) | specify |  |  |  |  |  |
| Water quality | cross out | treated / untreated |  |  |  |  |
| Is automation required for temperature regulation? | cross out | Yes / no |  |  |  |  |

* Specify the maximum load for the hot water supply.