|  | QUESTIONNAIRE For the Selection of an Oval Gear Flow Meter |
| --- | --- |

| Supplier and Manufacturer: | Customer Contact Details: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Tel: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact Person: |
| e-mail: office@opeks.ua | Position |

Please complete the initial data in the following table:

| Parameter | Unit of Measure | Parameter Description |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Measured Working Medium |  |  |  |  |  |
| Purpose and Composition (chemical formula) |  |  |  |  |  |
| Chemically Pure |  | Yes / No |  |  |  |
| Impurities and Contaminants | % |  |  |  |  |
| Temperature | °C | min. ___, | nom. ___, |  | max. ___ |
| Density | kg/m3 | ___ at temperature ___ °C |  |  |  |
| Viscosity at Various Temperatures | specify unit of measurement | ___ at __ °C | ___ at __ °C |  | ___ at __ °C |
| - Materials |  |  |  |  |  |
| Corrosion Resistance |  | yes / no |  |  |  |
| Which materials are incompatible with the process medium |  |  |  |  |  |
| - Operating Parameters |  |  |  |  |  |
| Diameter of Existing Pipeline (specify thread or flange) | Ø mm |  |  |  |  |
| Operating Pressure at Installation Location | bar | max ____ |  | min ______ |  |
| Operating Pressure within the System | bar | inlet ____ |  | outlet ____ |  |
| Flow Rate | m3/hour | min. ___, | nom. ___, |  | max. ___ |
| Number of System Operating Hours per Day | hours |  |  |  |  |
| Average Daily Flow | m3 |  |  |  |  |
| - System Type |  |  |  |  |  |
| Equipment is Installed For | specify | In-house measurements / reporting and provision of information to other organisations |  |  |  |
| System Type | specify | Piston pump / centrifugal pump / in a system with a pressure differential / other |  |  |  |
| When operating with a pump, installation on | specify | the suction line / the discharge line |  |  |  |
| Maximum pump power | specify |  |  |  |  |
| Presence of a filter |  | Yes / No |  |  |  |

| - Measurement method (important for selecting the counting mechanism or flow meter accessories) |  |  |
| --- | --- | --- |
| - Measuring device |  |  |
| Mechanical counting device with indicator | specify | with reset function / without reset function |
| Roller counter, 5 digits | specify | Yes / No |
| Printing device | Specify | Yes / No |
| Electronic counting device | Specify | UST / EZ / EZD |
| - Pre-setting (together with 5.1.2 and 5.1.3) |  |  |
| Dosing valve control |  | Mechanical / Electrical / Pneumatic |
| - Data transmission characteristics |  |  |
| Flow signal Output signal | specify | 0–20 mA / 4–20 mA / HART protocol / Screen display / recording / control |
| Distance (actual cable length) from flow meter to control point | m |  |
| - Current / Voltage Characteristics |  |  |
| Voltage | specify | 230 V 50 Hz / 24 VDC |
| Explosion Protection for | specify | none / category __ / pulse sensor / transducer |
| - Flow Direction | specify | left to right / right to left / top to bottom / bottom to top |
| - Dial Position | Specify | vertical / inclined / horizontal |

Installation Diagram: