|  | QUESTIONNAIRE For the selection of a spiral heat exchanger |
| --- | --- |

| Supplier and manufacturer: | Customer details: |
| --- | --- |
| OPEKS Energysystems | Company: |
| 01042, Kyiv, P.O. Box 111, Ukraine | Tel: |
| Tel: +38 044 536 11 90 | e-mail: |
| https://opeks.ua | Contact person: |
| e-mail: office@opeks.ua | Position |

Please complete the input data in the following table:

| Purpose of the heat exchanger |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Unit of measurement | Cooled medium |  | Heated medium |  |
| 1 | Name of the working fluid |  |  |  |  |  |
| 2 | Flow rate of the working fluids | kg/h |  |  |  |  |
| 3 | Gas flow rate | Nm3/h |  |  |  |  |
| 4 | Steam flow rate (If the heating medium is saturated steam, specify the temperature and pressure, or one of the two) | kg/h |  |  |  |  |
| 5 | Non-condensable gases |  |  |  |  |  |
| 6 | Inlet temperature | °C |  |  |  |  |
| 7 | Outlet temperature | °C |  |  |  |  |
| 8 | Dew point temperature (For gas cooling medium) | °C |  |  |  |  |
| 9 | Operating pressure | MPa |  |  |  |  |
| 10 | Pressure drop | kPa |  |  |  |  |
| 11 | Heat transfer coefficient (Important if the medium contains mechanical impurities) | W/(m2∙K) |  |  |  |  |
| 12 | Fouling factor |  |  |  |  |  |
| 13 | Content of particulate mechanical impurities and their maximum size Diameter (for contaminated media) |  |  |  |  |  |
| 14 | Characteristics of the operating fluid (specify) |  | Aggressive / toxic / explosive / abrasive |  | Aggressive / toxic / explosive / abrasive |  |
| 15 | Design data |  |  |  |  |  |
| 16 | Design pressure (min. / max.) | MPa |  |  |  |  |
| 17 | Design temperature (min. / max.) | °C |  |  |  |  |
| 18 | Construction material | 1.0425 (SA-516-60) / 304 / 316 / 1.446 / Other |  |  |  |  |
| 19 | Sealing material |  |  |  |  |  |

Physical properties of non-standard single-phase media*:

(to be specified for three temperatures within the operating range)

| Cooled medium (designation): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Temperature | °C |  |  |  |
| Density | kg/m3 |  |  |  |
| Viscosity | Pa∙s |  |  |  |
| Specific heat capacity | kJ/(kg∙°C) |  |  |  |
| Thermal conductivity coefficient | W/(m∙°C) |  |  |  |
| Heated medium (designation): |  |  |  |  |
| Temperature | °C |  |  |  |
| Density | kg/m3 |  |  |  |
| Viscosity | Pa∙s |  |  |  |
| Specific heat capacity | kJ/(kg∙°C) |  |  |  |
| Thermal conductivity coefficient | W/(m∙°C) |  |  |  |

* For non-standard two-phase media, please contact our company’s engineering department.